Status of the h mass measurement
Biagio Di Micco

---
Global correction to the mass value
To check possible corrections.
Mfit = Minput + (41 ± 3) keV/c2
 c2/n.d.f = 0.32
50pb-1 for each point
linearity is perfect.
A correction for the constant term is needed.
mh fit
MeV

---
Check of the pulls to validate MC
DATA
GEANFI personal production
pulls
x
E
y
z
t
Larger deviation for z

---
Check of the pulls to validate MC
Pulls Z fit
 response
1) The DATA are not centered;
2) The MC is broader
GEANFI
DATA

---
It can be an effect of the displacement already seen with ppg c.s
z
y
x
p+
p-

---
DATA correction
Pull = (Z - Zfit)/sqrt(sz2-szfit2)
pull
Res = (Z - Zfit)
Z cm
residual
Z cm

---
Residuals Z cm
Correction applied to the cluster position in data
Zclu-corr = Zclu + 0.19 cm
GEANFI
Value of the eta-mass
(not corrected)
DATA
s(MeV)
m (MeV)
547.81317
   ± 0.008
 2.14
DATA - zcorr
547.81311
   ± 0.008
Z corr.
 2.14
The new distribution is centered as expected
no improvement in s

---
MC DUMMY
In order to reproduce all the residuals distributions we use a
We smear the conversion point time, positions and energy in order to reproduce the resolution functions of the detector.
{%sigma E} over E = 0.057 over sqrt{E GeV}
{%sigma_t} = sqrt{(54 ps)^2 over {E(GeV)} + (140 ps)^2}
{%sigma_z} = {0.9 cm} over sqrt{E (GeV)}
{%sigma_x} = {%sigma_y} = 3.4 cm over sqrt{12}

---
Several attempt to apply different resolution functions to the photon z position without success (then check done on the luminouse region)
In the kinematic fit enter the Zclu-Zvtx, the mean vertex position is considered but one should use the real vertex position of each event (unknown). So the extension of the luminouse region affects the cluster position residuals.
The residuals are dominated by the vertex indetermination
s = 0.39 cm
GEANFI
s = 2.2 cm
s = 0.44 cm
DATA
s = 2.0 cm
Z – Zfit cm
Z1 – Z1 fit - (Z2 – Z2 fit) cm

---
Simulated luminouse region
Primary vertex distribution
Solution:
subtract the vertex position
from the cluster position (only z)
add a gaussian distributed zvtx
with s = 1.96 cm
apply Z resolution in the
dummy MC given by
0.91 cm /sqrt(E GeV)
X cm
y cm
s = 2.1 cm
Z cm

---
Again residuals
DATA
DUMMY MC
pulls
x
E
y
t
z

---
The DUMMY MC nicely reproduce the DATA residuals
Is the mass sensitive to these corrections?
s(MeV)
m (MeV)
 2.32
547.938
   ± 0.011
GEANFI
The answer is no
(the small difference in s can even reduce the difference due to the Dalitz cut)
 2.28
547.947
   ± 0.011
DUMMY

---
What do the DUMMY and GEANFI have in common?
The total momentum is used as the f momentum;
The f momentum for each event can be evaluated as the sum of the momenta of photons in the KINE bank, taking only those coming from the f
if we set in the KF event by event the total momentum as the f momentum, we are blind to the whole production + ISR process.

---
s(MeV)
m (MeV)
 2.28
547.947
   ± 0.011
DUMMY
Large variation is seen ~ 100 keV
 2.23
DUMMY
(ptot = pf)
547.831
   ± 0.011
Moreover: if we select photons coming from the h using KINE informations - no cut - we have:
m (MeV)
547.931
   ± 0.007
DUMMY
DUMMY
(ptot = pf)
547.889
   ± 0.007
I am reproducing the ISR off case to check for errors...,

---
Conclusions
Rechecking of ISR off
Rechecking of beam energy spread off
Deviation confirmed
yes
no
reweighting ISR according several models to give systematics
Looking for other effects that can produce the difference between the f momentum and the beam momentum