## Slide 1: KLOE offline & computing: Status report
M. Moulson – INFN/Frascati
LNF Scientific Committee
Frascati, 2 December 2003

## Slide 2: Offline perspectives: 2003  2004
With reference to 2001-2002 data:
  Completion of DST’s for KK stream
  Ambitious program for Monte Carlo production
Looking towards the future:
  Preparation for data taking at 10 pb1/day in 2004

## Slide 3: 2003 Monte Carlo production
Samples comparable in statistics to 450 pb1 of data
Each run in data set individually simulated
  s, p, x, background, dead wires, trigger thresholds…
Comprehensive series of upgrades to simulation
  Suite of new generators introduced, particular emphasis on radiative processes
  Geometry carefully revised and response simulation tuned for both EmC and DC
Inclusion of accidental activity from machine background
  Extracted from e+e–  events in data set
  Inserted run-by-run to match temporal profile of data
MC DST’s to provide convenient user interface

## Slide 4: MC production status
Program | Events (106) | Time (CPU days) | Size (TB)
all | 255 | 1100 | 6.9
ee | 36 | 110 | 0.8
KSKL | 410 | 1800 | 11.0
Production completed to date (~450 pb1 2001-2002 data)
Running time, entire program:
  About 3 months elapsed on
  60 offline CPU’s
CPU time/event (typical):
  Generation: 200 ms
  Reconstruction: 175 ms

## Slide 5: MC: Upgrades in progress
Expect these modifications to be available in 2-3 weeks
Would like to rerun production already completed
HW efficiency vs. DC layer
Data (Run 24973)
MC (Run 24973)
Simulation of DC hardware inefficiency
Tuning of EmC response to , 
  ,  deposit 20% more energy in MC than in data
  Response of fibers adjusted
  Good MC-data agreement for peak of E/p distribution
  Ongoing studies of cluster fragmentation in MC
New generators for radiative K decays
  K0  ; K, (IB); K

## Slide 6: New MC production requests
All radiative decays
  Includes   and ee
  110M events (450 pb1 at 5:1 scale)
Radiative Bhabha events: E > 100 MeV, 20 <  < 160
  32M events (450 pb1 at 1:10 scale)
  For tracking and cluster efficiency studies
All  decays at high statistics for off-peak runs:
  39M events with s = 1017 and 1022 MeV (2:1 scale)
  18M events with s = 1019 MeV (1:1 scale)
  For analysis of   3 Dalitz plot and cross section
About 1 week elapsed for each new program
About 3½ months for all MC running, including reruns

## Slide 7: Offline CPU/disk resources for 2003
Available hardware:
  23 IBM B80 servers: 92 CPU’s
  10 Sun E450 servers: 18 B80 CPU-equivalents
  6.5 TB NFS-mounted recall disk cache
  Easy to reallocate between production and analysis
Allocation of resources in 2003:
  64 to 76 CPU’s on IBM B80 servers for production
  800 GB of disk cache for I/O staging
  Remainder of resources open to users for analysis

## Slide 8: Analysis environment for 2003
Production of histograms/Ntuples on analysis farm:
  4 to 7 IBM B80 servers + 2 Sun E450 servers
  DST’s latent on 5.7 TB recall disk cache
  Output to 2.3 TB AFS cell accessed by user PC’s
Analysis example:
  440M KSKL events, 1.4 TB DST’s
  6 days elapsed for 6 simultaneous batch processes
  Output on order of 10-100 GB
Final-stage analysis on user PC/Linux systems

## Slide 9: CPU power requirements for 2004
Input rate (KHz)
Avg L (1030 cm2s1)
B80 CPU’s needed to follow acquisition
MC
DST
recon
76 CPU offline farm

## Slide 10: CPU/disk upgrades for 2004
Additional servers for offline farm:
  10 IBM p630 servers: 10×4 POWER4+ 1.45 GHz
  Adds more than 80 B80 CPU equivalents to offline farm
Additional 20 TB disk space
  To be added to DST cache and AFS cell
More resources already allocated to users
  8 IBM B80 servers now available for analysis
  Can maintain this allocation during 2004 data taking
Ordered, expected to be on-line by January

## Slide 11: Installed tape storage capacity
IBM 3494 tape library:
  12 Magstar 3590 drives, 14 MB/s read/write
  60 GB/cartridge (upgraded from 40 GB this year)
  5200 cartridges (5400 slots)
  Dual active accessors
  Managed by Tivoli Storage Manager
Maximum capacity: 312 TB (5200 cartridges)
Currently in use: 185 TB

## Slide 12: Tape storage requirements for 2004
Stored vol. by type (GB/pb1)
2002
2004 est.
Incl. streaming mods
118
98
16
43
57
49
16
43
Today
+780
pb1
+1210
pb1
+2000
pb1
Tape library usage (TB)
free
raw
recon
DST
MC

## Slide 13: Tape storage for 2004
Additional IBM 3494 tape library
  6 Magstar 3592 drives: 300 GB/cartridge, 40 MB/s
  Initially 1000 cartridges (300 TB)
  Slots for 3600 cartridges (1080 TB)
  Remotely accessed via FC/SAN interface
  Definitive solution for KLOE storage needs
Bando di gara submitted to Gazzetta Ufficiale
Reasonably expect 6 months to delivery
Current space sufficient for a few months of new data

## Slide 14: Machine background filter for 2004
Background filter (FILFO) last tuned on 1999-2000 data
  5% inefficiency for  events, varies with background level
  Mainly traceable to cut to eliminate degraded Bhabhas
  Removal of this cut: Reduces inefficiency to 1%
  Increases stream volume 5-10%
  Increases CPU time 10-15%
New downscale policy for bias-study sample:
  Fraction of events not subject to veto, written to streams
Need to produce bias-study sample for 2001-2002 data
  To be implemented as reprocessing of a data subset with new downscale policy
  Will allow additional studies on FILFO efficiency and cuts

## Slide 15: Other offline modifications for 2004
Modifications to physics streaming:
  Bhabha stream: keep only subset of radiative events
    Reduces Bhabha stream volume by 4
    Reduces overall stream volume by >40%
  KSKL stream: clean up choice of tags to retain
    Reduces KSKL stream volume by 35%
  KK stream: new tag using dE/dx
    Fully incorporate dE/dx code into reconstruction
    Eliminate older tags, will reduce stream volume
Random trigger as source of MC background for 2004
  20 Hz of random triggers synched with beam crossing allows background simulation for L up to 21032 cm2s1

## Slide 16: Conclusions
First pass at new MC production finished
  Culmination of ~1 year of effort!
  700M events produced
  Comprehensive upgrades, background from data, DST’s
  Continuing effort: new upgrades nearly ready to go
  Lots of new production requests to fulfill (180M events)
Ready to take data at 10 pb1/day in 2004
  CPU situation looking good
  Tape storage more critical, new library is definitive solution
Work in progress for 2004:
  Modifications to background filter and physics streaming
  New source of background triggers for MC events

## Slide 17: Additional information

## Slide 18: KLOE computing resources
tape library IBM 3494, 5400 60GB slots, 2 robots, TSM
324 TB 12 Magstar E1A drives, 14 MB/sec each
managed disk space 0.8 TB SSA: offline staging
6.5 TB 2.2 TB SSA + 3.5 TB FC: latent disk cache
offline farm
19 IBM B80 4×POWER3 375
8 Sun E450 4×UltraSPARC-II 400
AFS cell
2 IBM H70 4×RS64-III 340
1.7 TB SSA + 0.5 TB FC disk
online farm
  7 IBM H50 4×PPC604e 332
  1.4 TB SSA disk
analysis farm
4 IBM B80 4×POWER3 375
2 Sun E450 4×UltraSPARC-II 400
file servers 2 IBM H80 6×RS64-III 500
DB2 server
IBM F50 4×PPC604e 166
CISCO
Catalyst
6000
nfs
nfs
nfs
afs
100 Mbps
1 Gbps

## Slide 19: Offline hardware upgrades in 2003
12 upgrade kits for Magstar drives in tape library
  40  60 GB/cartridge
  Total capacity 208  312 TB (5200 cartridges installed)
3.5 TB FiberChannel disk space for DST-access cache
  Total capacity 2.2  5.7 TB
0.5 TB FiberChannel disk space for AFS cell (analysis)
  Total capacity  1.7 2.3 TB
2 GB RAM for DB2 server (run/file database)

## Slide 20: Reconstruction and DST production
raw
EmC
recon
DC
recon
MB/CR
filter
40%
25%
specific
algorithms
event
selection
compr
Reconstruction and streaming
DST production
event classification
4 ms
40 ms
180 GB/pb1
KSKL
rad
Bha
KK

100 GB/pb1
12 ms
20 GB/pb1
3 GB/pb1
KSKL
KK
115 ms
4.5 GB/pb1
12 GB/pb1
Examples:

## Slide 21: Data-summary tapes
DST type | Input size (GB) | Output size (GB) | CPU time (days)
K+K- | 5270 | 2070 | 50
KSKL | 8900 | 1350 | 15
Neutral radiative | 2920 | 130 | 10
Charged radiative |  | 640 | 
 (80 pb1) | 250 | 60 | 1
As of May, entire data set (450 pb1) available as DST’s
Total space: 4.3 TB
MC DST’s add ~1.6 TB
DST disk cache: 5.7 TB
Majority of DST’s disk-accessed

## Slide 22: DST’s for KK stream
DST’s for KK events newly available in early 2003
KK events completely re-reconstructed for DST’s
  Dedicated energy-loss treatment (m = mK) in track fit
  Contribution from correlated multiple-scattering errors included in evaluation of error matrix for track parameters
  Improved merging of split kaon tracks
  Dedicated algorithm for global t0 determination
  Kaon time-of-flight corrections to drift distances
  dE/dx reconstruction from DC ADC’s introduced

## Slide 23: MC upgrades: event generators
New  decay/ISR generator
  Effective s sampled before  decay channel chosen
   BR’s from KLOE cross-section measurements vs. s
KL  KS regeneration updated
  Regeneration on Al in DC wall enabled
  Nuclear recoil treated, angular distributions modified
, f0, a0 generators updated
  a0 and f0 mass spectra from fits to KLOE 2000 data
New generators for KS/KL   and e
  No cutoff at low E

## Slide 24: MC upgrades: detector simulation
DC | Geometry revised Realistic wire sags from survey implemented New s-t relations from simulated cosmic rays Dead wire simulation (map a function of run number)
EmC | Geometry revised ’s from  events in data used to calibrate: sampling fraction energy response and resolution time response and resolution position dependence of above Dead zones at module interfaces simulated Fiber attenuation length variations in endcaps simulated
Trigger | Thresholds (in reconstructed EmC/DC hits) adjusted Thresholds a function of run number

## Slide 25: MC upgrades: background simulation
Background extracted from e+e events in data
  Sampled evenly as a function of integrated luminosity
  Each background event inserted in fixed number of MC events
  Inserted background has same temporal profile as in data
Complete simulation of background in physical event
  All DC hits inserted (including tracklets, etc.)
  All EmC clusters inserted (except  clusters)
  Background hits inserted with timing relative to t0 preserved
e+e event selection criteria
  2 clusters on barrel with |t  R/c| < 5t, E > 350 MeV
  Etot > 800 MeV,  180°  1°, z  10 cm
  One background file per raw data file: 77,000 files, 8 GB total

## Slide 26: Isolation of background clusters
Purity of in-time background cluster selection:
dN/dE
dN/d(cos )
Multiplicity
MeV
Background clusters must be > 100 cm from  clusters
Event-weighting technique cleans up residual contamination from cluster fragments and  events
In-time clusters selected as background
Out-of-time clusters in data
Rates for

## Slide 27: MC-data comparison: tracking
Efficiency:  from KS
pz (MeV)
pz (MeV)
data/MC
data/MC
New
Old
New
Old
Old
New
Data
Resolution: M(KS)
M (MeV)
detail of radiative tail
log scale

## Slide 28: 2004 CPU estimate: details
Extrapolated from 2002 data with some MC input
2002
L = 36 b1/s
T3 = 1560 Hz
  345 Hz  + Bhabha
  680 Hz unvetoed CR
  535 Hz bkg
2004
L = 100 b1/s (assumed)
T3 = 2175 Hz
  960 Hz  + Bhabha
  680 Hz unvetoed CR
  535 Hz bkg (assumed constant)
From MC:
   = 3.1 b (assumed)
   + Bhabha trigger:  = 9.6 b
   + Bhabha FILFO:  = 8.9 b
  CPU( + Bhabha) = 61 ms avg.
CPU time calculation:
  4.25 ms to process any event
  + 13.6 ms for 60% of bkg evts
  + 61 ms for 93% of  + Bha evts
2002: 19.6 ms/evt overall – OK
2004: 31.3 ms/evt overall (10%)

## Slide 29: 2004 tape space estimate: details
2001: 274 GB/pb1
2002: 118 GB/pb1
  Highly dependent on luminosity
2004: Estimate a priori
  Assume: 2175 Hz @ 2.6 KB/evt
    Raw event size assumed same for all events (has varied very little with background over KLOE history)
  Assume: L = 100 b1/s
  1 pb1 = 104 s:
    25.0 GB for 9.6M physics evts
    31.7 GB for 12.2M bkg evts
      (1215 Hz of bkg for 104 s)
    56.7 GB/pb-1 total
Stream | 2001-2002 GB/pb1 | 2004 GB/pb1
KK | 11.6 | 11.6
KSKL | 19.7 | 12.8
 | 3.3 | 3.3
radiative | 6.4 | 6.4
Bhabha | 56.0 | 14.0
other | 0.8 | 0.8
Total | 98 | 49
raw
recon
Include effects of streaming changes:
MC
Assumes 1.7M evt/pb1 produced
 all (1:5) and   KSKL (1:1)

## Slide 30: MC production: known problems
Problems concerning generation:
  (ee)vs. s constant for 2001   all simulation
  (ee) vs. s resonant for 2002   all simulation
  BR(  a0) 10 actual value
  BR(  f0, a0) from resonance shape for KSKL
   and  reversed in KS e generator
  Bug in  generator
Problems concerning reconstruction:
  Dead wires dropped after (not before) DC trigger emulation
  Error in s-t relations used for DC reconstruction
Problems concerning DST’s:
  Used standard (not dedicated) MB filter for rad DST’s